## Slide 1
Remote heart rate measurement from RGB-NIR video
based on spatial and spectral face patch selection
Shiika Kado1, Yusuke Monno1, Kenta Moriwaki1,
Kazunori Yoshizaki2, Masayuki Tanaka1,3, Masatoshi Okutomi1
1Tokyo Institute of Technology 2Olympus Corporation
3National Institute of Advanced Industrial Science and Technology

## Slide 2: Background
Remote heart rate (HR) measurement from face videos
Camera
Face video
Heart rate
72 BPM
Non-contact measurement
Stress-free measurement

## Slide 3: Background
Existing methods using an RGB video cannot accurately estimate HR under:
Low light
Light fluctuations
RGB video
RGB video

## Slide 4: Proposed setup
Combine RGB and near-infrared (NIR) videos to improve robustness to illumination
Low light
Light fluctuations
NIR video
NIR video
RGB video
RGB video

## Slide 5: Non-RGB camera based methods
Use NIR camera
  Gastel et al., TBME, 2015
  Mitsuhashi et al., CIC, 2017
Use thermal camera
  Garbey et al., TBME, 2007
Use multispectral camera
  McDuff et al., TBME, 2014
  Guputa et al., CVPR workshop, 2016
Use RGB-NIR camera
  Proposed method
NIR camera (Gastel et al.)
Thermal camera (Garbey et al.)
Five-band camera (McDuff et al.)

## Slide 6: Existing algorithm using RGB camera
Poh et al., Opt. Exp., 2010
Use one face ROI and RGB channels
* ICA : Independent Component Analysis
* FFT : Fast Fourier Translation
ICA*
Estimated pulse signal
Average intensity
R channel
G channel
B channel
Time
FFT*
Estimated
HR
HR estimation
Time
Time

## Slide 7: Existing algorithm using RGB camera
HR
・・・
Lam and Kuno, ICCV, 2015
Use multiple face ROIs and the G channel
HR
estimation
HR
estimation
HR
estimation
G channel
Histogram
voting
・・・
・・・
Final
HR
Average intensity
HR
HR
Spatial random sampling

## Slide 8: Proposed face patch sampling
G channel
Spatial and spectral sampling
・・・
・・・
NIR channel
・・・
・・・
・・・
・・・
Spectral
G
NIR
Spatial

## Slide 9: Face tracking and signal extraction
KazemiIn, “One Millisecond Face Alignment with an Ensemble of Regression Trees”, CVPR, 2014
RGB-NIR video
Face tracking
Signal extraction
Candidate HR estimation
Histogram voting
Estimated HR
Time (sec)
.
.
.
.
.
.
.
.
G channel
NIR channel
RGB video
NIR video
Face Tracking algorithm:
Pixel value

## Slide 10: Candidate HR estimation
RGB-NIR video
Face tracking
Signal extraction
Candidate HR estimation
Histogram voting
Estimated HR
ICA
Frequency (Hz)
Estimated pulse signal
FFT
HR
(※ ICA: Independent Component Analysis)
(※ FFT: Fast Fourier Translation)
Most dominant frequency

## Slide 11: Candidate HR estimation
.
.
.
.
.
.
.
.
G channel
NIR channel
(i) G-G pair
(ii) N-N pair
(iii) G-N pair
Candidate HR
Candidate HR
Candidate HR
RGB-NIR video
Face tracking
Signal extraction
Candidate HR estimation
Histogram voting
Estimated HR

## Slide 12: Histogram voting
RGB-NIR video
Face tracking
Signal extraction
Candidate HR estimation
Histogram voting
Estimated HR
Reliability :
Frequency (Hz)
Reliable
Unreliable
Power spectrum
Reliability check

## Slide 13: Histogram voting
RGB-NIR video
Face tracking
Signal extraction
Candidate HR estimation
Histogram voting
Estimated HR
・
・
・
HR (78.49)
HR (52.21)
HR (78.16)
Repeat 500 times
Voting
Voting
HR (79.32)
HR (76.77)
HR (78.08)
HR (93.85)
Voting
Count
Parabola fitting
HR (BPM)
78.26
G-G pair
HR (82.13)
HR (77.61)
N-N pair
G-N pair
G-G pair
N-N pair
G-N pair
G-G pair
N-N pair
G-N pair
Reliable
Unreliable
Reliable

## Slide 14: Experimental setup
Fluorescent (FL)
light
Display monitor
NIR light
Dual CCD
RGB-NIR
camera
20 subjects 30 seconds
Under 4 illumination conditions
Reference HR is recorded by contact PPG sensor

## Slide 15: RGB-NIR camera
Dual CCD RGB-NIR camera
RGB sensor
Beam splitter
Used an RGB-NIR camera
to record RGB and NIR videos simultaneously
NIR sensor
Sensitivity
Wavelength (nm)
Sensor sensitivity
AD-130GE, JAI Ltd., Japan. http://www.jai.com/en/products/ad-130ge.

## Slide 16: Compared methods
Compared with following methods:
  Poh et al., Opt. Exp., 2010
  Lam and Kuno, ICCV, 2015
Methods | Random ROI sampling | Channels |  |  | 
 |  | R | G | B | NIR
Poh-RGB |  | ✔ | ✔ | ✔ | 
Poh-RGBN |  | ✔ | ✔ | ✔ | ✔
Lam-G | ✔ |  | ✔ |  | 
Lam-NIR | ✔ |  |  |  | ✔
Proposed | ✔ |  | ✔ |  | ✔

## Slide 17: Evaluation metric
Evaluated percentage of subjects whose absolute HR estimation error is less than threshold
Percentage of subjects
that error < threshold (%)
Absolute error threshold (BPM)
Absolute error < 3 BPM for 80% of subjects
Good
Bad

## Slide 18: Experimental results
Lighting condition:
Sufficient lighting
Percentage of subjects
that error < threshold (%)
Absolute error threshold (BPM)
Fluorescent light (600 lux)
NIR light
RGB video
NIR video
Good
Good
Proposed
Lam-G
Lam-NIR

## Slide 19: Experimental results
Lighting condition:
Only fluorescent light
Fluorescent light (600 lux)
RGB video
NIR video
Good
Bad
Proposed
Lam-G
Percentage of subjects
that error < threshold (%)
Absolute error threshold (BPM)

## Slide 20: Experimental results
Lighting condition:
Low light condition
Percentage of subjects
that error < threshold (%)
Absolute error threshold (BPM)
Fluorescent light (50 lux)
NIR light
RGB video
NIR video
Bad
Good
Proposed
Lam-NIR

## Slide 21: Experimental results
Lighting condition:
Illumination fluctuation
Percentage of subjects
that error < threshold (%)
Absolute error threshold (BPM)
Fluorescent light (50 lux)
NIR light
Movie was played on display
RGB video
NIR video
Bad
Good
e.g. in theater
Proposed
Lam-NIR

## Slide 22: Experimental results
Result of all 80 videos
(20 subjects × 4 scenes)
Proposed method can estimate HR accurately
under various illumination conditions
Percentage of subjects
that error < threshold (%)
Absolute error threshold (BPM)
Proposed

## Slide 23: Conclusion
Proposed a HR estimation method from an RGB-NIR video based on spatial and spectral selection of suitable face patches
Demonstrated that our method can estimate HR robustly under various illumination conditions